## Slide 1: Data Management Plan for KORUS-AQ Airborne Field Study
Dr. Jeong-Hoo Park
National Institute of Environmental Research
Dr. Gao Chen
NASA Langley Research Center

## Slide 2: Motivation and Overview
Objective: to provide a framework through which the KORUS-AQ observational data are effectively archived, managed, and shared. This document also addresses the plan for long-term preservation and distribution
Overview: The KORUS-AQ data submission will be conducted in three stages: field, preliminary, and final. The final data will be open to public and transferred to LaRC ASDC and NIER CAQRD for long-term preservation and distribution

## Slide 3: KORUS-AQ Data Flow Overview
Preliminary Data
Final Data
Field Data
KORUS-AQ Data Repositories
Collecting data
In-field data processing
Initial data QA/QC
calibration/ characterization
Post-field data processing
Data QA/QC
Synchronization
Final QA/QC, including integrated processing
Synchronization
Transfer to NIER CAQRD and
LaRC ASDC
(DAAC)
Field Deployment Phase
Post Deployment Phase
Public Phase

## Slide 4: KORUS-AQ Data Repositories and Data Holdings
NASA Data Repository: www-air.larc.nasa.gov
  NASA DC-8 and King Air
  Ozonesonde, Ozone LIDAR and Pandora
  Other relevant model, trajectory and satellite data
NEIR Data Repository: www.nier.go.kr
  KMA King Air and Hanseo King Air
  Kisang I and Onnuri
  Ground sites
Both data repositories will use the same username and password for access control
Weblink will be provided for AERONET data website

## Slide 5: KORUS-AQ Data Submission Schedule
Mission Phase | Data Type | Data Repository | Submission Deadline | Access Control
Field Deployment | Field Data | NASA | 24 hour after each flight or cal. Day | Science team and Partners
 |  | NEIR |  | 
Post-Deployment | Preliminary Data | NASA | January 15, 2017 | Science team and Partners
 |  | NEIR |  | 
Public | Final Data | NASA | June 15, 2017 | Public
 |  | NEIR | June 15, 2018 | 
Field data submission deadline may vary depending on field operation constraints
Preliminary and field data will be expunged after their operation periods, respectively
The final data due date difference is driven by data policies at NASA and NEIR

## Slide 6: KORUS-AQ Data Format Requirements
The data from KORUS-AQ field study will conform to ICARTT or HDF format
All in-situ measurements are required to report data in ICARTT format. Detailed format description can be found at: http://www-air.larc.nasa.gov/missions/etc/IcarttDataFormat.htm.
All incoming data files from in-situ measurements will be scanned to ensure compliance to the ICARTT format requirements
Assistance will be made available to the science team to trouble-shoot issues in generating ICARTT files.
The remote sensing measurement instruments may report data in either HDF or ICARTT format

## Slide 7: KORUS-AQ Data File Naming Convention
DataID_LocationID_YYYYMMDD_R#_Description.extension
DataID: a short description of measured parameter/species, instrument, or model
LocationID: an identifier of measurement platform: e.g. DC8, will be provided on the website in a drop-down box
YYYYMMDD: UTC date when the flight take off or the beginning of the measurement for ground sites
R#: Revision number. The revision number will be RA, RB, RC, … for field data and R0, R1, R2, … for the preliminary and final data. Note: archived files cannot be overwritten
Description: optional additional description of the file if necessary
Extension: “ict” for ICARTT files, “h4” for HDF 4 files, and “h5” for HDF 5 files, etc.
Examples: the filename for DC-8 diode laser spectrometer H2O measurement made on May 1, 2016 flight may be:
KORUSAQ-DLH-H2O_DC8_20160501_RA.ICT (for field data)
KORUSAQ-DLH-H2O_DC8_20160501_R0.ICT (for preliminary or final data)

## Slide 8: KORUS-AQ Data Reporting Requirements
KORUS-AQ Metadata Requirements:
  The KORUS-AQ data files should be self-describing with sufficient information on: variable definition, unit, data reporting information, measurement description, measurement uncertainty and detection limits
  The metadata requirements for ICARTT and HDF files are uniform. Details will be provided in the Data Management Plan.
DataID Registration:
  PI will need to register his/her dataID before file submission.
  DataID is used to organize file on the data repository and is a part of the KORUS-AQ file naming convention.
  DataID is a typically short description of measured parameter/species, instrument, or model (e.g., KORUSAQ-O3).
  The website will be open for DataID registration in late March, 2016 and detailed instruction will be distributed.

## Slide 9: KORUS-AQ Science Data Policy
All participants are requested to accept the following responsibilities:
Submit data in ICARTT or HDF format no later than the specified deadlines
If unexpected events lead to any delay in data submission, the PI is required to notify the project leadership as soon as issues are known
Final data should be submitted to the archive prior to any presentation at scientific conferences (e.g. AGU, AMS) or manuscript preparation, unless explicit authorization is obtained from the program managers
All aircraft measurements from a common platform should be synchronized to science team pre-agreed time standard, e.g. DLH for DC-8
Consult with PIs when using their data in conference/data workshop presentations and/or manuscript
Invite PIs of any data used to be co-authors (particularly during post-deployment research phase)
PIs should be available to answer questions about their data

## Slide 10
Data Managers
The KORUS-AQ Data Manager will monitor the data submission status in accordance with the data submission timeline. The data manager will also coordinate the efforts to support implementation of ICARTT format
Gao Chen, NASA Langley Research Center, gao.chen@nasa.gov, 757-864-2290
Jeong-Hoo Park National Institute of Environmental Research
jeonghoo@korea.kr, +82-32-560-7717

## Slide 11: Additional Requirements for Enhancing KORUS-AQ Data Quality
Data Synchronization standards:
  DC8: DLH
  King Airs?
All aerosol extensive measurements are reported in STP (i.e., 273.15K and 1013 mb), including optical measurements
1 sec files start and stop at the common take-off and landing time
1 sec. cloud marker/flag?

## Slide 12: Additional Requirements for Enhancing KORUS-AQ Data Quality (Cont.)
Use fixed variable name(s) for Time Stamps, i.e., Time_Start, Time_Stop, and Time_Mid
Use the same number of variables and variable names throughout mission for the files with the same same dataID
While no standard short variable name recommendations, please consider add a common variable name after the “short name, unit”.
These are recommended ICARTT format changes under discussion